## Title
XML to Excel spreadsheet converter program
Revision 5.93
USAGE:
1. Press <cntrl> R or click the Choose Config button
2. Browse to the location of your configuration files, click OK
3. Click OK to start program
4. When program has finished, click Save and select location and name of your XLS or XLSX file
Notes:
Version 5.6 | Updated to work with 64 bit versions of Excel. Thanks to Michael Coletti for brining it to our attention.
Version 5.7 | Added the following sources: JEM2ASCII, Calculations, Primary / Secondary IED, Breaker Timing App, C2020M IEDs, Battery Test App, MCD App, C3835 1ms SOE
Added the Enhanced ModbusR Protocol to the supported Slave Protocols
Added the Delete Sheets Button Below.
Version 5.8 | Added DNPM IED's
Added Boolean Status Points to the Translated Applications
Version 5.82 | Reformatted DNPM IED's to use one sheet per Point Type
Fixes for missing xml files in older configs
Version 5.83 | Modified formatting for Port Settings Sheets.
Version 5.84 | Added Comm Port Summary Sheet, Thanks to Steven Liter for feedback recent versions
Version 5.85 | Changed the DNPM Port config screens to include Port Settings, IED Settings, and IED Points
Version 5.86 | Sheet names can't have special characters
Version 5.87 | Fix for error adding IED's if tab has already been created
Version 5.88 | Fix for error adding slave ports if Port Name has special characters in it.
Version 5.89 | Fix for error if INET attribute missing from config file for ModbusR or DNPR on ethernet. On C3413 cards.
Version 5.90 | Fix for older configs missing tags when reading with selectSingleNode. Will return Missing data and continue on.
Version 5.91 | Added Default Event Class for each point type in DNPR port config tabs (Ana, Sts, Cnt)
Version 5.92 | Added Tab for Modbus Master Ports and IED's
Version 5.93 | Revamp the Save As function.
Choose Config
Delete Sheets